## Read Me
Zip-Clip Competitor Cross-Reference — Spec Database
Build v1 — schema + starting data for Gripple, DobyGrip, Golden Peakock
PURPOSE
This workbook holds a standard spec schema so any competitor product (Gripple, DobyGrip, Golden Peakock, or others added later) can be compared against Zip-Clip's own range on the same fields. Each competitor gets its own tab. A 'Zip-Clip Range' tab holds our own products in the same structure. Once both sides are populated, a matching tool (spreadsheet-fed web app) can score the closest Zip-Clip equivalent for any competitor part.
HOW TO USE THIS FILE
1. Each competitor tab is pre-filled with everything I could confirm from public datasheets/websites (July 2026).
2. Columns M and N (Zip-Clip Equivalent / Match Confidence) are left blank on purpose — that's the manual cross-reference step, or later the output of the matching tool once it exists.
3. Add new rows for any product I've missed, or new competitor tabs by copying the column structure exactly.
4. The 'Zip-Clip Range' tab is a stub for your own product data (from PreQuote's 524-product set) — ready for that to be mapped in next.
COLUMN DEFINITIONS
• Brand: Manufacturer name.
• Product / Series Name: Marketing name of the product line, e.g. 'Gripple Hanger', 'DobyGrip', 'GPL Loop Gripper'.
• Product Code: Manufacturer's SKU/part code where published.
• Category: Suspension/hanger, loop gripper, catenary, beam clamp, seismic bracing, wire rope (raw), end fixing, etc.
• Wire/Cable Diameter (mm): Compatible wire diameter(s).
• Wire Construction: e.g. 7x7, 7x19 strand construction.
• Material / Finish: e.g. galvanised steel, stainless steel, zinc-plated, aluminium.
• End Fixing Type: Loop, stud, hook, eyebolt, snap hook, toggle, swivel eyelet, etc.
• Safe Working Load (kg): SWL at vertical (0°) suspension, as published.
• Safety Factor: e.g. 5:1, 3:1 — varies by product size.
• Max Angle from Vertical: Angle at which SWL de-rates or the manufacturer's stated max (usually 60°).
• Application: M&E/HVAC, ductwork, cable containment, lighting, signage, seismic bracing, etc.
• Zip-Clip Equivalent (fill in): Manual or tool-matched Zip-Clip product code — left blank for now.
• Match Confidence (fill in): High/Medium/Low — how close the equivalent really is on load + application.
• Source: URL the data was taken from, so it can be re-checked.
• Notes: Anything that affects comparability — dimensions, temperature range, certifications, etc.
GAPS TO FILL
• Gripple: now the deepest dataset (100+ rows) — pulled from Gripple's full 2020 Product Guide, covering the complete hanger range (Standard, Express, Angel, Stainless Steel, UniGrip, Fire Rated, Fast Trak), every end fixing (28 types with codes), and the accessory/bracket/anchor range. Some dimension-specific SKUs (e.g. individual stud/barrel sizes M6 vs M8 vs M10) are collapsed into one row with the size options noted rather than one row each, to keep this reviewable — flag if your team wants every size broken out as its own row.
• DobyGrip: core DG1–DG6 range is fully captured with load/dimension/angle data. Doby doesn't publish as granular a public SKU list for end-fixing accessories as Gripple does — what's here is what's publicly available; a Doby-supplied accessories price list would let this tab reach the same depth as Gripple's.
• Golden Peakock: strong data pulled directly from their 2025 catalogue PDF including product codes (GPCB-xxx, GW-xxx, GPL-S-xxx series) and full load tables.
• None of the three publish a direct 'their code = our code' cross-reference (expected — competitors don't do this for each other). The Zip-Clip Equivalent column will need either manual specification by your team or spec-matching logic once your own range is loaded in.
UPDATE — Official Golden Peakock catalogues added
Kayleigh supplied four official Golden Peakock catalogues (wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf, plus the original Gripple product guide). The Golden Peakock tab has been rebuilt from these official sources with real product codes throughout (GPCB-4xx loop grippers, GPCB-427/422 heavy duty gripper series, GPA-151 catenary hanger, GPCB-394/420 Hexa grippers, GPL-S-382/383/384 seismic kits, GPA-199 swivel eyelets, and the full wire rope range) rather than the earlier web-search estimates.
This is still spec-based estimation against Zip-Clip's range (no official Golden-Peakock-to-Zip-Clip cross-reference exists, unlike Gripple), but the underlying competitor data is now sourced directly from their own literature rather than search snippets, so it's more trustworthy as a starting point for your technical team's review.

## Gripple
Brand | Product / Series Name | Product Code | Category | Wire/Cable Diameter (mm) | Wire Construction | Material / Finish | End Fixing Type | Safe Working Load (kg) | Safety Factor | Max Angle from Vertical | Application | Zip-Clip Equivalent (fill in) | Match Confidence (fill in) | Source | Notes
Gripple | Standard Hanger No.1 | HF1 | Suspension hanger | 1.5mm | 7x7 / 1x19 | Galvanised steel | Loop/Stud/Toggle/Snap Hook/etc (interchangeable) | 10 | 5:1 | 60° | M&E, HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Conforms to DW/144
Gripple | Standard Hanger No.2 | HF2 | Suspension hanger | 2mm | 7x7 / 1x19 | Galvanised steel | Interchangeable end fixings | 45 | 5:1 | 60° | M&E, HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Standard Hanger No.3 | HF3 | Suspension hanger | 3mm | 7x7 / 1x19 | Galvanised steel | Interchangeable end fixings | 90 | 5:1 | 60° | M&E, HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Standard Hanger No.4 | HF4 | Suspension hanger | 4.75mm | 7x19 | Galvanised steel | Interchangeable end fixings | 225 | 5:1 | 60° | Heavy duty M&E, pipework, ductwork |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Standard Hanger No.5 | HF5 | Suspension hanger | 6mm | 7x19 | Galvanised steel | Interchangeable end fixings | 325 | 5:1 | 60° | Heavy duty M&E, pipework, ductwork |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Top of standard range
Gripple | Express No.1 | XP1 | Suspension hanger (keyless) | 1.5mm (typ.) | 7x7 | Galvanised steel | Interchangeable end fixings | 15 | 5:1 | 60° | Signage, shopfitting, lighting, light fixtures |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Keyless/tool-free release mechanism
Gripple | Express No.2 | XP2 | Suspension hanger (keyless) | 2mm (typ.) | 7x7 | Galvanised steel | Interchangeable end fixings | 45 | 5:1 | 60° | M&E, general suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Keyless/tool-free release mechanism
Gripple | Angel No.1 | AL1-... | Suspension hanger (aesthetic) | 1.5mm | 7x7 | Galvanised steel | Wide range of feet — Y-Fit, Hook, Side Exit F/M, Central Exit, Signage, Swivel, Disc, Rail, Four Point, Knockout, Helix | 15 | 5:1 | 60° | Architectural lighting, signage, acoustic baffles |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Discreet 1.5mm wire; e.g. AL1-SF6, AL1-ISH, AL1-YTG-300
Gripple | Stainless Steel Hanger No.2 |  | Suspension hanger - stainless | 2mm | 7x7 | Stainless steel | Interchangeable end fixings | 45 | 5:1 | 60° | Food industry, high humidity environments |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Ceramic rollers, stainless springs
Gripple | Stainless Steel Hanger No.3 |  | Suspension hanger - stainless | 3mm | 7x7 | Stainless steel | Interchangeable end fixings | 90 | 5:1 | 60° | Food industry, high humidity environments |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | UniGrip No.2 | UG2 | Suspension hanger (next-gen) | - | - | Galvanised steel | Standard/QT/Calibra/Hook/Y-Fit/Side Exit/Phenolic Adaptor/Central Exit feet | 55 | 5:1 | 60° | Cable containment, pipework, ductwork, HVAC, modules |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Highest load rating in range at No.4 (250kg)
Gripple | UniGrip No.3 | UG3 | Suspension hanger (next-gen) | - | - | Galvanised steel | Multiple foot options | 110 | 5:1 | 60° | Cable containment, pipework, ductwork, HVAC, modules |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | UniGrip No.4 | UG4 | Suspension hanger (next-gen) | - | - | Galvanised steel | Multiple foot options | 250 | 5:1 | 60° | Heavy duty multi-tier cable containment, pipework, ductwork |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | UniGrip 6 |  | Heavy duty suspension | - | - | Steel | 3/4in UNC threaded, 5in long | 363 | - | - | Multi-tier conduit racks, large-diameter pipework, data centres |  |  | phcppros.com UniGrip 6 article | 800 lb rated
Gripple | Duct Trapeze No.2 | DT2 | Trapeze bracket suspension | - | - | Galvanised steel | - | 45 | 5:1 | - | Single/multi-tier rectangular ductwork, plenum boxes |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Conforms DW/144 Class D; ducting gauge 0.6-1.5mm
Gripple | Butterfly Trapeze No.2 | BT2 | Trapeze bracket suspension | - | - | Galvanised steel | - | 45 | 5:1 | - | Single/multi-tier rectangular ductwork, plenum boxes |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | InvisiGrip | IG1 | Suspension (discreet/translucent) | Filament (fine) | - | Translucent polymer | Loop / C-Clip 3mm / 90° Eyelet / Mini Hook / M6 Stud / Cladding Hook / Top Hat Barrel / Twist Clip White | 5 | 5:1 | - | Signage, decorations, acoustic panels, lighting, displays |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Min load 100g per hanger; 'floating' display effect
Gripple | Y-Fit No.1 | YHF1 | Dual-point suspension hanger | - | - | Galvanised steel | Toggle/Snap Hook/Cable Tray Hook/Link Hook (leg fixings); leg lengths 150/300/500mm | 10 | 5:1 | 60° | Balanced containment, lighting, pipework |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Y-Fit No.2 | YHF2 | Dual-point suspension hanger | - | - | Galvanised steel | Same leg fixing options | 45 | 5:1 | 60° | Balanced containment, lighting, pipework |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Accessory version AY2 also available
Gripple | Y-Fit No.3 | YHF3 | Dual-point suspension hanger | - | - | Galvanised steel | Same leg fixing options | 90 | 5:1 | 60° | Balanced containment, lighting, pipework |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Accessory version AY3 also available
Gripple | Catenary Kit - Lockable Plus 3 | CTI-3MM | Catenary / horizontal span system | 3mm | - | Galvanised steel | C-Clip end fixing (3mm/6mm) | 30 | 5:1 | - | Lighting, HVAC, pipework, electrical containment - no vertical anchor available |  |  | gripple.com 2020 Product Guide (full brochure PDF) | SWL per free span; quarter-turn lock
Gripple | Catenary Kit - Lockable Plus 6 | CTI-6MM | Catenary / horizontal span system | 6mm | - | Galvanised steel | C-Clip end fixing (3mm/6mm) | 100 | 5:1 | - | Heavy duty HVAC, M&E, ductwork, signage |  |  | gripple.com 2020 Product Guide (full brochure PDF) | SWL per free span; quarter-turn lock
Gripple | Fire Rated Hanger No.2 | HF2-SS-F | Suspension hanger - fire rated | - | - | Steel, ceramic rollers | Loop/Stud/Channel Nut/Eyelet/Toggle/DX Shot Fire | 45 | 5:1 | 60° | Fire-rated electrical services (BS EN 1363-1:2012, tested to F120) |  |  | gripple.com 2020 Product Guide (full brochure PDF) | At F120 (120min): derates to 2.5kg; anti-tamper, tool required to release
Gripple | Fire Rated Hanger No.3 | HF3-SS-F | Suspension hanger - fire rated | - | - | Steel, ceramic rollers | Loop/Stud/Channel Nut/90° Eyelet/Toggle | 90 | 5:1 | 60° | Fire-rated electrical services |  |  | gripple.com 2020 Product Guide (full brochure PDF) | At F120 (120min): derates to 10kg
Gripple | Trapeze Plus FR No.2 | MTZ2-F | Trapeze bracket - fire rated | - | - | Steel | Washer/channel nut fixing | 45 | 3:1 | - | Fire-rated HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | F120 rating 2.5kg; side-exit variant MTS2...SS-F, cable basket adaptor MTZ2-SS-CBA-F
Gripple | Trapeze Plus FR No.3 | MTZ3-F | Trapeze bracket - fire rated | - | - | Steel | Washer/channel nut fixing | 90 | 3:1 | - | Fire-rated HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | F120 rating 10kg; side-exit variant MTS3...SS-F
Gripple | Trapeze Plus FR No.4 | MTZ4-F | Trapeze bracket - fire rated | - | - | Steel | M10 stud fixing | 225 | 3:1 | - | Fire-rated HVAC, pipework, electrical containment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | F120 rating 25kg
Gripple | Fire Rated Clip - Single | FRC-S-100P-SS-F | Cable clip - fire rated | - | - | Steel, fire-rated concrete screw | Direct fix to ceiling/wall | 0.24 | - | - | Fire-rated (30min) direct cable suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Operating range -20°C to +60°C
Gripple | Fire Rated Clip - Double | FRC-D-100P-SS-F | Cable clip - fire rated | - | - | Steel, fire-rated concrete screw | Direct fix to ceiling/wall | 2x0.24 | - | - | Fire-rated (30min) direct cable suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Fast Trak Standard Bracket (range) | FTB-250 to FTB-1500 | Prefabricated trapeze bracket | - | - | Steel | Track-mounted, tool-free | 90-180 (size dependent) | 3:1 | - | Electrical containment, pipework, ductwork in restricted spaces |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 9 bracket sizes 250-1500mm; tracks FTT-135 to FTT-1035, 90kg SWL (5:1)
Gripple | Fast Trak Low Profile Bracket (range) | FTBL-250 to FTBL-1200 | Prefabricated trapeze bracket | - | - | Steel | Track-mounted, tool-free | 15-90 (size dependent) | 3:1 | - | Ultra-restricted ceiling space electrical/pipework/mechanical |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 21mm bracket depth; 8 sizes
Gripple | Fast Trak Side Loading - Single | FTBS-180 | Prefabricated side-load bracket | - | - | Steel | Side-loaded, track-mounted | 15 | 3:1 | - | Lightweight electrical containment, pipework in restricted places |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Internal use only, static load
Gripple | Fast Trak Side Loading - Twin (range) | FTBT-200/300/400 | Prefabricated side-load bracket | - | - | Steel | Side-loaded, track-mounted | 30 | 3:1 | - | Lightweight electrical containment, pipework in restricted places |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | QT Universal Clamp | GC2-T-400 | Pipe clamp | - | - | Steel, rubber pad options (Standard/Large/Acoustic) | Quarter-turn to Universal/Low Profile Bracket | 75 | 3:1 | - | Pipework install, replaces 13+ pipe ring sizes 15mm copper to 6in steel |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 14-23dB noise reduction depending on pad
Gripple | QT Compact Clamp | GC2-C-400 | Pipe clamp | - | - | Steel, rubber pad options | Quarter-turn to Low Profile Bracket | 75 | 3:1 | - | Pipework install within restricted mechanical/plumbing services |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Universal Bracket (range) | PB240 to PB1540 | Mounting bracket | - | - | Steel | Bolt to soffit/wall or suspend via hanger | 150 | 3:1 | - | Electrical containment, pipework, multi-service installs |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 100mm increments 240-1540mm
Gripple | Low Profile Bracket (range) | LPB180 to LPB1550 | Mounting bracket | - | - | Steel | Bolt to soffit/wall, <15mm depth | 150 | 3:1 | - | Restricted-space pipework/electrical support |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 100mm increments 180-1550mm
Gripple | Universal Clamp |  | Pipe clamp | - | - | Steel, rubber pad options | M8/M10 dual thread, direct to bracket/channel/rod | 75 | 3:1 | - | Pipework installation |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Height Adjustable Universal Clamp | HA100 | Pipe clamp | - | - | Steel | 100mm rod + M8 nut + Universal Clamp | - | - | - | Pipes of differing sizes along centre axis; condensate gradient install |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Wall Bracket (range) | WALL-BRACKET-SMALL/MEDIUM/LARGE | Mounting bracket | - | - | Steel, zinc plated | Bolts to wall + Universal Bracket + QT Clamp | 150 | 4:1 | - | Pipework/electrical close to wall, no soffit fixing |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 240/340/440mm sizes
Gripple | Pipe Insulation Collars (Kooltherm) | GKT-PS-xx-xx | Pipe insulation accessory | - | - | Kooltherm phenolic insulation | Fits Gripple pipe clamps | - | - | - | Insulated pipework, thermal continuity |  |  | gripple.com 2020 Product Guide (full brochure PDF) | -50°C to 120°C; sizes 15-89mm OD
Gripple | Pipe Insulation Collars (Armaflex) | GAF-PS-xx-xx | Pipe insulation accessory | - | - | Armaflex elastomeric insulation | Fits Gripple pipe clamps | - | - | - | Insulated pipework, thermal continuity |  |  | gripple.com 2020 Product Guide (full brochure PDF) | -183°C to 105°C
Gripple | End Fixing - Loop | LG | End fixing | - | - | Galvanised/stainless steel | Loop (choke knot, no nuts/bolts) | 325 | 5:1 | - | General purpose, all Standard Hanger sizes |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Available No.1-5; stainless steel option
Gripple | End Fixing - Stud | S6G/S8G/S10G | End fixing | - | - | Steel, drop-in anchor | Threaded stud M6/M8/M10 | 250 | 5:1 | - | Concrete/metal decking anchoring |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Fire rated kits available
Gripple | End Fixing - Toggle | TG | End fixing | - | - | Steel | Toggle, for Y-Fit lighting suspension | 110 | 5:1 | - | Lighting, Y-Fit configurations |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Stainless steel available
Gripple | End Fixing - Snap Hook | HG | End fixing | - | - | Steel | Snap hook, quick attach/detach | 90 | 5:1 | - | Cable basket, purlin clips, light fittings |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Cable Tray Hook |  | End fixing | - | - | Steel | Cable tray hook, 100-300mm tray width | 45 | 5:1 | - | Cable tray/basket attachment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Used with Y-Fit No.2
Gripple | End Fixing - Mini Hook |  | End fixing | - | - | Steel | Mini hook | 15 | 5:1 | - | Cable tray/basket requiring access/maintenance |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Barrel | B6G | End fixing | - | - | Steel | Barrel, M6/M8 | 110 | 5:1 | - | Signage, exposed services |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Top Hat Barrel | BB6 | End fixing | - | - | Steel | Top hat barrel, M6/M8 c/sunk screw fix | 55 | 5:1 | - | Exposed lighting/services, aesthetic finish |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - End Stop | EG | End fixing | - | - | Steel | End stop, for extruded profiles | 110 | 5:1 | - | General suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Eyelet | EY6G | End fixing | - | - | Steel, stainless option | Eyelet | 110 | 5:1 | - | General suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Fire rated version available
Gripple | End Fixing - 45° Eyelet | EY4512G | End fixing | - | - | Steel | 45° angled eyelet | 110 | 5:1 | - | Bracing applications |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - 90° Eyelet | EY906G | End fixing | - | - | Steel | 90° angled eyelet, for concrete screw | 110 | 5:1 | - | Direct soffit mounting |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Fire rated version available
Gripple | End Fixing - Cladding Hook |  | End fixing | - | - | Steel | Cladding hook, 6mm hole fit | - | - | - | Cladding attachment (SWL varies by steel thickness) |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Ring Anchor |  | End fixing | - | - | Steel | Ring anchor, cracked/non-cracked concrete | 55 | 3:1 | - | Concrete ceiling fixing, shallow 25mm anchorage |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Ceiling Anchor |  | End fixing | - | - | Steel | Ceiling anchor, knock-in | 45 | 3:1 | - | Concrete fixing |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Link Hook | NG | End fixing | - | - | Steel | Link hook | 45 | 4:1 | - | Cable tray loading, access/maintenance |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Karabiner | KG | End fixing | - | - | Steel, stainless option | Karabiner clip | 90 | 5:1 | - | General suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - C-Clip 3mm | CC3 | End fixing | 3mm | - | Steel | C-Clip, for Catenary Kits | 45 | 5:1 | 60° | Catenary kit connection, horizontal/vertical adjust |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - C-Clip 6mm | CC6 | End fixing | 6mm | - | Steel | C-Clip, for Catenary Kits | 45 | 5:1 | 60° | Catenary kit connection |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Shot Fire | DX22/BX3/DX27 | End fixing | - | - | Steel | Powder-actuated fastening (Hilti tool compatible) | 45 | - | - | Fast fastening without drilling |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 6x faster than drill+anchor
Gripple | End Fixing - Channel Nut |  | End fixing | - | - | Steel | Pre-assembled channel nut, fits 41x41 & 41x21 channel | 250 | 5:1 | - | Channel/rail installations, multi-tier |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Decking Wedge |  | End fixing | - | - | Steel | Decking wedge 18mm/25mm | 90 | - | - | SMD R51, Comflor 51, Holorib, Multideck 50, Metfloor 55 decking |  |  | gripple.com 2020 Product Guide (full brochure PDF) | No drilling required
Gripple | End Fixing - Alphawedge |  | End fixing | - | - | Steel | Decking wedge | 90 | - | - | Ribdeck E60 decking |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Multiwedge 2 |  | End fixing | - | - | Steel | Decking wedge | 90 | - | - | Kingspan Multideck 60/80 decking |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - TR60 Wedge |  | End fixing | - | - | Steel | Decking wedge, M8/M10 | 90 | - | - | Structural Metal Decks TR60+/TR80+ |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - MF Wedge |  | End fixing | - | - | Steel | Decking wedge, M8/M10 | 90 | - | - | Metfloor 60/80 decking (manufacturer-recommended fixing) |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | End Fixing - Twist Clip (White) |  | End fixing | - | - | Plastic/steel | Twist-fit, no tools | - | - | - | 24mm T-Bar grid suspended ceilings |  |  | gripple.com 2020 Product Guide (full brochure PDF) | For use with Angel range
Gripple | End Fixing - Magnetic Pad | MPG | End fixing | - | - | Magnet + steel | Magnetic attachment | 8 | 2:1 | - | Magnetic metal surfaces, signage |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Not for aluminium/brass/non-magnetic surfaces
Gripple | End Fixing - QT Barrel | QTB | End fixing | - | - | Steel | Quarter-turn to Gripple Bracket | - | - | - | Header rail suspension, multi-tier from Universal Bracket |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | G-Bracket (range) | G-BRACKET-100/200/300/400 | Cable tray/basket bracket | - | - | Steel | Joins for double fixing, works with Y-Fit | 60 | 3:1 | - | Cable tray/basket suspension, fire rated |  |  | gripple.com 2020 Product Guide (full brochure PDF) | 100/200/300/400 sizes; G-Spacer joins pairs
Gripple | Standard Beam Clamp |  | Beam clamp fixing | - | - | Spring Steel CS70, Delta-Tone finish | Beam clamp, M6 connector | 32 | 3:1 (68kg at 1.4:1) | - | Steel construction fixing, no welding/drilling |  |  | gripple.com Hanger Systems brochure | Flange 2-17mm; use with No.1/No.2 hanger
Gripple | Swivel Clamp |  | Beam clamp fixing | - | - | Steel, Dacromet finish | Swivel beam clamp, articulates 30°/45° | 285 | 1.4:1 | - | Pitched beam suspension without welding/drilling |  |  | gripple.com Hanger Systems brochure | Flange up to 24mm; No.1-4 hanger
Gripple | Beam Clamp (M8/M10) | BEAMCLAMP-M8/M10 | Beam clamp fixing | - | - | Steel | Compatible with Stud End Fixing | 110-240 | - | - | I-beam fixing without drilling/welding |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Universal Bracket Beam Clamp | PB-BEAM-CLAMP | Beam clamp for bracket | - | - | Steel | Fixes Universal Bracket direct to beam | - | - | - | Pipe runs close to deck, flange up to 40mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Purlin Clip | GCP45 | Purlin fixing | - | - | Spring Steel | Purlin clip, for Snap Hook end fixing | 9 | 3:1 | - | Purlin flange 4-5mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Tiger Clip | TIGERCLIP-28/816 | Beam/purlin fixing | - | - | Steel | Hammer-on, for Snap Hook end fixing | 56 | 3:1 | - | Flange 2-16mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Vertical Flange Clip | GCVF15/57 | Beam/purlin fixing | - | - | Steel | Hammer-on, for Snap Hook end fixing | 33 | 3:1 | - | Flange 1-7mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Z Purlin Clip | GCZP48 | Purlin fixing | - | - | Steel | Hammer-on, for Snap Hook end fixing | 12 | 3:1 | - | Flange up to 2.5mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Beam Clip | GCB24/59/1016/1720 | Beam fixing | - | - | Steel | Hammer-on, for Snap Hook end fixing | 32-43 | 3:1 | - | Flange 2-20mm depending on size |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | GF Bracket | GF12/20/30-EYENUT | I-beam clamp bracket | - | - | Steel | M12 threaded rod, pairs with Catenary Kits | 340 | 5:1 | - | Flange 6-30mm |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | M6/M8 Adaptor | ADP-M6/M8 | Fixture adaptor | - | - | Steel | Threaded adaptor, works with Drop-In Anchor | 90-225 | 5:1 | - | Luminaire and fixture fixing |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Catenary Steel Anchor | CAT-STEEL-ANCHOR | Blind steel fixing | - | - | Steel | 14mm hole, one-side access | 325 | 5:1 | - | Catenary kit anchoring to steel 3-22mm thick |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Catenary Wall Bracket | CAT-BRACKET-100MM | Wall bracket | - | - | Steel, zinc plated | Bolts to concrete/timber | 340 | 3:1 | - | Catenary kit wall termination |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Trapeze Bracket | TPZ-BRACKET | Ductwork bracket | - | - | Galvanised steel, 2mm | For UniGrip No.2/No.3 | 90 | 3:1 | - | Rectangular ducting, replaces threaded rod/channel |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Eyebolt | EYEBOLT-M8/M10 | Adaptor | - | - | Steel | Closed-eye, full/partial thread | 325 | 5:1 | - | Standard Hanger suspension |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Wedge Nuts | WEDGE8-18/25 | Adaptor | - | - | Steel | M8, 18mm/25mm decking | 200 | 3:1 | - | Stud end fixing / decking wedge use |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Turnbuckle | TBK8-R80/R200, TBK10-R200 | Adaptor | - | - | Steel | Closed-eye one end, threaded rod other | 325 | 5:1 | - | Cold room panels |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Pigtail | PIGTAIL6-20/45MM, PIGTAIL8-45MM | Adaptor | - | - | Steel | For Loop end fixing + Drop-In Anchor | 90-150 | 5:1 | - | Removable loop anchor for maintenance access |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Acoustic Spring Anchor |  | Adaptor | 2mm | - | Steel | Kit for Standard Hanger/Angel Hook/Express | - | - | - | Acoustic isolation mounting |  |  | gripple.com 2020 Product Guide (full brochure PDF) | Standard 40mm / large 70mm
Gripple | T-Bar Twist Clip | TBAR-CLIP-M6 | Adaptor | - | - | Steel | M6 thread, for Barrel end fixing | 22 | 5:1 | - | 25mm T-Bar suspended ceilings |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Drop-In Anchor | DPA-M6/M8/M10 | Concrete anchor | - | - | Steel | Internal threaded, flared end | 140-290 | 3:1 | - | Cracked/non-cracked concrete, hollow core, natural stone |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Concrete Ceiling Anchor | CWH6 | Concrete anchor | - | - | Steel | Knock-in, claw hammer set | 45 | 3:1 | - | Non-cracked concrete, hard natural stone |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Cracked Concrete Ring Anchor | CCRA6 | Concrete anchor | - | - | Steel | Self-expanding, ETA approved | 57 | 3:1 | - | Cracked and non-cracked concrete |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Concrete Screw | CS40 | Concrete anchor | - | - | Steel | For 90° Eyelet end fixing, removable | 170 | 3:1 | - | Cracked/non-cracked concrete |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Concrete Wire Anchor | WIRE-ANCHOR | Concrete anchor | - | - | Stainless steel (304/A2) | For non-cracked concrete, natural stone | 45 | 3:1 | - | Concrete/stone fixing |  |  | gripple.com 2020 Product Guide (full brochure PDF)
Gripple | Seismic Bracing Kit GS10 | GS10 | Seismic bracing | - | - | - | Pre-engineered wire brace kit | 158 (LRFD design strength) | - | - | Seismic bracing, non-structural equipment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | OSHPD/UL NEBS certified
Gripple | Seismic Bracing Kit GS12 | GS12 | Seismic bracing | - | - | - | Pre-engineered wire brace kit | 476 (LRFD design strength) | - | - | Seismic bracing, non-structural equipment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | OSHPD/UL NEBS certified
Gripple | Seismic Bracing Kit GS19 | GS19 | Seismic bracing | - | - | - | Pre-engineered wire brace kit | 952 (LRFD design strength) | - | - | Seismic bracing, non-structural equipment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | OSHPD/UL NEBS certified
Gripple | Seismic Bracing Kit GS25 | GS25 | Seismic bracing | - | - | - | Pre-engineered wire brace kit | 1746 (LRFD design strength) | - | - | Seismic bracing, non-structural equipment |  |  | gripple.com 2020 Product Guide (full brochure PDF) | OSHPD/UL NEBS certified
Gripple | Gripple B-Lock Kit (1.5mm) |  | Locking clamp / clutch kit | 1.5 / 2 / 2.5mm compatible | 7x7 | Galvanised steel, zinc housing | Clamp/clutch, side release | 35 | - | - | General suspension, side-release adjustment |  |  | expresswirerope.com B-Lock kit listing | Kit includes 50m reel + 30 clamps

## DobyGrip
Brand | Product / Series Name | Product Code | Category | Wire/Cable Diameter (mm) | Wire Construction | Material / Finish | End Fixing Type | Safe Working Load (kg) | Safety Factor | Max Angle from Vertical | Application | Zip-Clip Equivalent (fill in) | Match Confidence (fill in) | Source | Notes
Doby Verrolec | DobyGrip DG1 | DG1 | Suspension hanger | 1mm | 7x7 | Zinc cast body, 304 stainless internal spring | Loop / other end fixings | 10 | 5:1 | 60° | Light M&E, HVAC, cable/lighting |  |  | dobyverrolec.com DobyGrip suspension brochure | 20x16.5x6mm, 9g
Doby Verrolec | DobyGrip DG2 | DG2 | Suspension hanger | 2mm | 7x7 | Zinc cast body | Loop / other end fixings | 50 | 5:1 | 60° | M&E, HVAC |  |  | dobyverrolec.com DobyGrip suspension brochure | 26x30x9mm, 28g
Doby Verrolec | DobyGrip 2 Max | DG2M | Suspension hanger | 2mm | 7x7 | Zinc cast body | Loop / other end fixings | 50 | 5:1 | Maintains 100% SWL to 120° inclusive angle | M&E, HVAC ducting (mandatory for HVAC per manufacturer) |  |  | dobyverrolec.com DobyGrip suspension brochure | Designed to exceed 60° inclusive angle while holding full SWL; 35x26x9mm, 37g
Doby Verrolec | DobyGrip DG3 | DG3 | Suspension hanger | 3mm | 7x7 | Zinc cast body | Loop / other end fixings | 100 | 5:1 | 60° | M&E, HVAC, ductwork |  |  | dobyverrolec.com DobyGrip suspension brochure | 35x35x12mm, 28g (catalogue lists 2.65oz - check unit)
Doby Verrolec | DobyGrip DG4 | DG4 | Suspension hanger | 4mm | 7x19 | Zinc cast body | Loop / other end fixings | 225 | 3:1 | 0° only (vertical) | Heavy duty M&E, ductwork, pipework |  |  | dobyverrolec.com DobyGrip suspension brochure | 40x42x13mm, 93g; same unit as DG5, accepts two wire diameters
Doby Verrolec | DobyGrip DG5 | DG5 | Suspension hanger | 5mm | 7x19 | Zinc cast body | Loop / other end fixings | 325 | 3:1 | 0° only (vertical) | Heavy duty M&E, ductwork, pipework |  |  | dobyverrolec.com DobyGrip suspension brochure | 40x42x13mm, 93g; same unit as DG4
Doby Verrolec | DobyGrip DG6 | DG6 | Suspension hanger | 6mm | 7x19 | Zinc cast body | Loop / other end fixings | 500 | 3:1 | 0° only (vertical); catenary needs sales office advice | Heavy duty M&E, ductwork, pipework, catenary |  |  | dobyverrolec.com DobyGrip suspension brochure | 50x45x15mm, 141g; top of standard range
Doby Verrolec | M6/M8 Adaptor |  | End fixing accessory | - | - | - | M6 or M8 threaded adaptor | 100 | 5:1 | - | Direct fixing into suspended light fittings |  |  | dobyverrolec.com wire suspension page | For use with DG1-DG3
Doby Verrolec | Concrete Fixing (1/2mm wire) |  | Substrate fixing | 1 or 2mm | - | Stainless steel 1.4401 (316) | Concrete/brick anchor | - | - | - | Suspended air ducts, lowered ceilings |  |  | dobyverrolec.com wire suspension page | For 8mm drilled hole, min 30mm deep

## Zip-Clip Range
Brand | Product / Series Name | Product Code | Category | Wire/Cable Diameter (mm) | Wire Construction | Material / Finish | End Fixing Type | Safe Working Load (kg) | Safety Factor | Max Angle from Vertical | Application | Zip-Clip Equivalent (fill in) | Match Confidence (fill in) | Source | Notes
Zip-Clip | ZC150SS | ZC150SS | Suspension hanger | 2.0mm | 7x7 | Stainless steel | Loop | 45 | 5:1 | 60° | M&E, HVAC |  |  | Internal — PreQuote dataset | EXAMPLE ROW — replace with real PreQuote export
↑ Replace this row with your full PreQuote/524-product export mapped into these same columns.

## Matching Logic (draft)
Draft matching logic for the tool
Step 1 — Category match | Only compare within the same Category (suspension hanger vs suspension hanger, catenary vs catenary, etc). This is a hard filter, not a scored one.
Step 2 — Load band match | Find Zip-Clip products whose SWL band contains or is closest above the competitor's SWL — never suggest a Zip-Clip product rated below the competitor part, only equal or higher.
Step 3 — Wire diameter proximity | Score by closeness of wire/cable diameter, since this affects installation compatibility on site.
Step 4 — Fixing type match | Prefer same end fixing type (loop/stud/hook/etc); flag as lower confidence if fixing type differs even when load matches.
Step 5 — Application match | Boost confidence when Application text overlaps (e.g. both list 'ductwork' or 'seismic').
Output | Return top match plus up to 2 alternates, each tagged High/Medium/Low confidence based on how many of steps 2-5 passed cleanly.

## Golden Peakock
Brand | Product / Series Name | Product Code | Category | Wire/Cable Diameter (mm) | Wire Construction | Material / Finish | End Fixing Type | Safe Working Load (kg) | Safety Factor | Max Angle from Vertical | Application | Zip-Clip Equivalent (fill in) | Match Confidence (fill in) | Source | Notes
Golden Peakock | Loop Gripper | GPCB-436 | Loop gripper | 1.5mm | - | Aluminium | Loop | 30 | 5:1 | - | M&E, general suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | With safety lock
Golden Peakock | Loop Gripper | GPCB-437 | Loop gripper | 2.0mm | - | Aluminium | Loop | 50 | 5:1 | - | M&E, general suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | With safety lock
Golden Peakock | Loop Gripper | GPCB-438 | Loop gripper | 3.2mm | - | Aluminium | Loop | 113 | 5:1 | - | M&E, general suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Loop Gripper | GPCB-439 | Loop gripper | 5.0mm | - | Aluminium | Loop | 300 | 5:1 | - | M&E, heavy duty suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Loop Gripper | GPCB-472 | Loop gripper | 4.0mm | - | Aluminium | Loop | 160 | 5:1 | - | M&E, suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Loop Gripper | GPCB-382 | Loop gripper | 2.0mm | - | Aluminium | Loop | 50 | 5:1 | - | M&E, general suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Loop Gripper | GPCB-383 | Loop gripper | 3.2mm | - | Aluminium | Loop | 113 | 5:1 | - | M&E, general suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Loop Gripper | GPCB-384 | Loop gripper | 5.0mm | - | Aluminium | Loop | 300 | 5:1 | - | M&E, heavy duty suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | SS Loop Gripper (outdoor) | GPCB-305C | Loop gripper - stainless | 1.5mm / 5.1mm | - | Stainless steel | Loop | 22 | 5:1 | - | Outdoor HVAC/M&E, oil field, swimming pools, corrosive environments |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | SS Loop Gripper (outdoor) | GPCB-424 | Loop gripper - stainless | 2.0mm | - | Stainless steel | Loop | 36 | 5:1 | - | Outdoor HVAC/M&E, oil field, swimming pools |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | SS Loop Gripper (outdoor) | GPCB-425 | Loop gripper - stainless | 3.2mm | - | Stainless steel | Loop | 80 | 5:1 | - | Outdoor HVAC/M&E, oil field, swimming pools |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Heavy Duty Gripper - Standard | GPCB-427-A | Heavy duty gripper | 4.0-5.0mm | 7x7 | Steel (6-ball bearing) | Standard (in-line) | - | - | - | Rigging, material handling, construction, manufacturing |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Wire breaking strength: 750kg (4.0mm) / 1250kg (5.0mm); static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Bottom Exit with Loop | GPCB-427-B | Heavy duty gripper | 4.0-5.0mm | 7x7 | Steel (6-ball bearing) | Bottom exit with loop | - | - | - | Truss/rigging suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Bottom Exit with Channel Nut | GPCB-427-C | Heavy duty gripper | 4.0-5.0mm | 7x7 | Steel (6-ball bearing) | Bottom exit with channel nut | - | - | - | Ductwork, strut channel suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Side Exit with Y-Fit | GPCB-427-D | Heavy duty gripper | 4.0-5.0mm | 7x7 | Steel (6-ball bearing) | Side exit with Y-fit | - | - | - | Truss/rigging suspension, dual-leg support |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Side Exit with Tail | GPCB-427-E | Heavy duty gripper | 4.0-5.0mm | 7x7 | Steel (6-ball bearing) | Side exit with tail | - | - | - | Rigging, general heavy suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Standard | GPCB-422-A | Heavy duty gripper | 6.0-8.0mm | 7x19 | Steel (6-ball bearing) | Standard (in-line) | - | - | - | Heavy rigging, material handling, construction |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Wire breaking strength: 1900kg (6.0mm) / 2400kg (8.0mm); static loads only, not for lifting
Golden Peakock | Heavy Duty Gripper - Bottom Exit with Loop | GPCB-422-B | Heavy duty gripper | 6.0-8.0mm | 7x19 | Steel (6-ball bearing) | Bottom exit with loop | - | - | - | Heavy truss/rigging suspension |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | C/D/E variants not available for this wire size; static loads only
Golden Peakock | Catenary Hanger | GPA-151 | Catenary / horizontal span system | 4.0 / 5.0 / 6.35mm | - | Aluminium (engineering grade casting) | Hook & clip | 40 (4mm) / 70 (5mm) / 100 (6.35mm) per free span | 5:1 | Max 60 each side | HVAC, MEP, heavy-duty fixtures, no overhead anchor points |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Bottom wire SWL: 30/50/100kg at 1.5/2.0/3.0mm respectively
Golden Peakock | Hexa Gripper | GPCB-394 (2.0mm) | Strut/multi-tier gripper | 2.0mm | 7x7 | Aluminium | Standard/Bottom exit loop/channel nut/Side exit Y-fit/tail/fork | 45 | 5:1 | - | Electrical, HVAC & mechanical, single/multi-tier cable tray |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 225kg
Golden Peakock | Hexa Gripper | GPCB-394 (2.4mm) | Strut/multi-tier gripper | 2.4mm | 7x7 | Aluminium | Standard/Bottom exit loop/channel nut/Side exit Y-fit/tail/fork | 60 | 5:1 | - | Electrical, HVAC & mechanical, single/multi-tier cable tray |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 300kg
Golden Peakock | Hexa Gripper | GPCB-420 (3.2mm) | Strut/multi-tier gripper | 3.2mm | 7x7 | Aluminium | Standard/Bottom exit loop/channel nut/Side exit Y-fit/tail/fork | 100 | 5:1 | - | Electrical, HVAC & mechanical, single/multi-tier cable tray |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 500kg; comes with lock nut
Golden Peakock | Seismic Cable Bracing Kit | GPL-S-382 | Seismic bracing | 2.0mm | - | Steel, colour tag green | Swivel eyelet + cable gripper + bracket | 101-511 kg ASD depending on angle | - | 30 / 45 / 60 deg | Seismic bracing for suspended non-structural equipment |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Complies IS 800(2007); equivalent AISC 360, EN 1993, NZS 3404
Golden Peakock | Seismic Cable Bracing Kit | GPL-S-383 | Seismic bracing | 3.0mm | - | Steel, colour tag yellow | Swivel eyelet + cable gripper + bracket | 215-1109 kg ASD depending on angle | - | 30 / 45 / 60 deg | Seismic bracing for suspended non-structural equipment |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Seismic Cable Bracing Kit | GPL-S-384 | Seismic bracing | 5.0mm | - | Steel, colour tag blue | Swivel eyelet + cable gripper + bracket | 697-2597 kg ASD depending on angle | - | 30 / 45 / 60 deg | Seismic bracing for suspended non-structural equipment |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf
Golden Peakock | Duct Corner Hanger | GP-DuctHanger (2.0mm) | Ductwork fixing | 2.0mm | 7x7 | Galvanized steel | Self-locking static pull, screw-fix to duct corner | 45 | - | - | Suspending rectangular ductwork |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 225kg
Golden Peakock | Duct Corner Hanger | GP-DuctHanger (3.2mm) | Ductwork fixing | 3.2mm | 7x7 | Galvanized steel | Self-locking static pull, screw-fix to duct corner | 100 | - | - | Suspending rectangular ductwork |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 500kg
Golden Peakock | Beam Clamp Cable Gripper | GP-BeamClamp (2.5mm) | Beam fixing | 2.5mm | 7x7 | Galvanized steel, zinc plated | Beam clamp, pull-adjust cable gripper | 50 | - | - | Suspension from overhead beam without punching/welding |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 250kg
Golden Peakock | Beam Clamp Cable Gripper | GP-BeamClamp (4.0mm) | Beam fixing | 4.0mm | 7x7 | Galvanized steel, zinc plated | Beam clamp, pull-adjust cable gripper | 120 | - | - | Suspension from overhead beam without punching/welding |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Breaking load 600kg
Golden Peakock | Swivel Eyelet | GPA-199/181/173/179/157 | End fixing | 1.5 / 2.0 / 2.4 / 3.2 / 5.0mm | - | Alloy steel, zinc coating | Swivel eyelet, straight/45/90 | 30 / 50 / 70 / 113 / 300 by wire dia | - | Rotates, side loads to 90 deg | Seismic bracing connection, flexible fixing |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | Metric or UNC thread
Golden Peakock | Ferrule Loop | GP-Ferrule | End fixing | 1.5 / 2.0 / 3.2 / 5.0mm | - | Aluminium ferrule, galvanized wire | Ferrule-crimped loop | 30 / 50 / 113 / 300 by wire dia | 5:1 | - | M&E, HVAC, electrical, from purlins/beams/roof/trusses |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | UL 1598/2239, TUV Nord tested
Golden Peakock | Stud / Y-fit Stud | GP-Stud | End fixing | 1.5 / 2.0 / 3.2 / 5.0mm | - | Steel stud, galvanized wire, aluminium ferrule | Stud M6/M8/M8/M10 by size | 30 / 50 / 113 / 300 by wire dia | 5:1 | - | Concrete ceilings, metal decking, pressed metal brackets |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | UL 1598/2239, TUV Nord tested; Y-fit version available
Golden Peakock | Snaphook / Y-fit Snaphook | GP-Snaphook | End fixing | 1.5 / 2.0 / 3.2mm | - | Steel hook, galvanized wire, aluminium ferrule | Snaphook / Y-fit snaphook | 30 / 50 / 113 by wire dia | 5:1 | - | Cable trays |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | UL 1598/2239, TUV Nord tested
Golden Peakock | EyeBolt / Y-fit Eyebolt | GP-Eyebolt | End fixing | 1.5 / 2.0 / 3.2 / 5.0mm | - | Steel eyebolt, galvanized wire, aluminium ferrule | Eyebolt M6/M8/M8/M10 by size | 30 / 50 / 113 / 300 by wire dia | 5:1 | - | Concrete ceiling, metal decking, pressed metal brackets |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | UL 1598/2239, TUV Nord tested
Golden Peakock | Corner Protector | GPL-Corner-Protector | Accessory - wire protection | Up to 6mm | - | Polypropylene copolymer (navy blue) | Clip-on corner cushion | - | - | - | Protects wire rope at duct/beam corners from damage during tensioning |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 50x50x50mm, 12g unit weight
Golden Peakock | Wire Rope 1.6mm | GW16300 | Raw wire rope | 1.6mm | 7x7 | Galvanized (SS prefix = stainless) | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 300m reel; loop gripper SWL 30kg, single gripper SWL 25kg
Golden Peakock | Wire Rope 2.0mm | GW20300 | Raw wire rope | 2.0mm | 7x7 | Galvanized | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 300m reel; loop gripper SWL 50kg, single gripper SWL 45kg
Golden Peakock | Wire Rope 2.4mm | GW24150 | Raw wire rope | 2.4mm | 7x7 | Galvanized | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 150m reel; loop gripper SWL 70kg, single gripper SWL 60kg
Golden Peakock | Wire Rope 3.2mm | GW32150 | Raw wire rope | 3.2mm | 7x7 | Galvanized | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 150m reel; loop gripper SWL 113kg, single gripper SWL 100kg
Golden Peakock | Wire Rope 4.0mm | GW40150 | Raw wire rope | 4.0mm | 7x7 | Galvanized | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 150m reel; loop gripper SWL 160kg, single gripper SWL 120kg
Golden Peakock | Wire Rope 5.0mm | GW50150 | Raw wire rope | 5.0mm | 7x7 | Galvanized | - | - | - | - | General suspension supply |  |  | Golden Peakock official catalogues (uploaded by Kayleigh, July 2026): wire-rope-suspension-solution.pdf, heavy-duty-gripper.pdf, lighting-solutions.pdf | 150m reel; loop gripper SWL 300kg, single gripper SWL 250kg